**Oklahoma Natural Gas Project Checklist**

New residential development

* Preliminary plat, site utility plans, street plans, and storm, sanitary and grading plans.
* Building footprint drawing with desired location of gas meter for each home. Oklahoma Natural Gas will make every attempt to satisfy your choice, but in some cases, we will need to identify an alternate location.
* Provide the type of equipment and the input rating expressed in British thermal units (Btus) or cubic feet per hour (cfh). Example: 1- Natural Gas Furnace -350,000 Btus.
* Provide the pressure requirement for your equipment. This is usually found on the manufacturer’s specification sheet. It is usually expressed in inches of water column, abbreviated WC, or pounds per square inch, abbreviated psi. Oklahoma Natural Gas provides a standard delivery pressure of 5.3 oz or 9.17” w.c., if elevated pressure is required complete Elevated Pressure Form.
* Development construction schedule.
* Provide date for when natural gas service is requested.

Non-residential development

* Preliminary plat, site utility plans, street plans, and storm, sanitary and grading plans.
* Building footprint drawing with desired location of gas meter for each commercial space. Mark locations of meter banks with number of units. Oklahoma Natural Gas will make every attempt to satisfy your choice, but in some cases, we will need to identify an alternate location.
* Provide the type of equipment and the input rating expressed in British thermal units (Btus) or cubic feet per hour (cfh). Example: 1- Natural Gas Furnace -350,000 Btus.
* Provide the pressure requirement for your equipment. This is usually found on the manufacturer’s specification sheet. It is usually expressed in inches of water column, abbreviated WC, or pounds per square inch, abbreviated psi. Oklahoma Natural Gas provides a standard delivery pressure of 5.3 oz or 9.17” w.c., if elevated pressure is required complete Elevated Pressure Form (link to form).
* Development construction schedule.
* Provide date for when natural gas service is requested.